## General
Excel file version | v1.4
Name | Distribution
Frequency (Hz) | 60
Power Base (MVA) | 100

## Pins
outgoing | V_1 | 1_a/Vmag | 1_b/Vmag | 1_c/Vmag | 1_a/Vang | 1_b/Vang | 1_c/Vang
outgoing | V_I_18 | 18_a/Vmag | 18_b/Vmag | 18_c/Vmag | 18_a/Vang | 18_b/Vang | 18_c/Vang | LD_18/Imag1 | LD_18/Imag2 | LD_18/Imag3 | LD_18/Iang1 | LD_18/Iang2 | LD_18/Iang3
outgoing | V_I_6 | 6_a/Vmag | 6_b/Vmag | 6_c/Vmag | 6_a/Vang | 6_b/Vang | 6_c/Vang | LD_6/Imag1 | LD_6/Imag2 | LD_6/Imag3 | LD_6/Iang1 | LD_6/Iang2 | LD_6/Iang3
outgoing | monitoringV | 6_a/Vmag | 6_b/Vmag | 6_c/Vmag | 6_a/Vang | 6_b/Vang | 6_c/Vang | 18_a/Vmag | 18_b/Vmag | 18_c/Vmag | 18_a/Vang | 18_b/Vang | 18_c/Vang | 26_a/Vmag | 26_b/Vmag | 26_c/Vmag | 26_a/Vang | 26_b/Vang | 26_c/Vang
outgoing | monitoringI | LD_6/Imag1 | LD_6/Imag2 | LD_6/Imag3 | LD_6/Iang1 | LD_6/Iang2 | LD_6/Iang3 | LD_18/Imag1 | LD_18/Imag2 | LD_18/Imag3 | LD_18/Iang1 | LD_18/Iang2 | LD_18/Iang3 | LD_26/Imag1 | LD_26/Imag2 | LD_26/Imag3 | LD_26/Iang1 | LD_26/Iang2 | LD_26/Iang3
outgoing | monitoryingLD | LD_18/P1 | LD_18/P2 | LD_18/P3 | LD_18/P1 | LD_18/P2 | LD_18/P3 | LD_26/P1 | LD_26/P2 | LD_26/P3 | LD_26/P1 | LD_26/P2 | LD_26/P3 | LD_18/Q1 | LD_18/Q2 | LD_18/Q3 | LD_18/Q1 | LD_18/Q2 | LD_18/Q3 | LD_26/Q1 | LD_26/Q2 | LD_26/Q3 | LD_26/Q1 | LD_26/Q2 | LD_26/Q3
incoming | pow_26 | LD_26act/P1 | LD_26act/Q1 | LD_26act/P2 | LD_26act/Q2 | LD_26act/P3 | LD_26act/Q3
incoming | pow_18 | LD_18act/P1 | LD_18act/Q1 | LD_18act/P2 | LD_18act/Q2 | LD_18act/P3 | LD_18act/Q3
incoming | loadprofiles | LD_1/P1 | LD_1/P2 | LD_1/P3 | LD_2/P1 | LD_2/P2 | LD_2/P3 | LD_3/P1 | LD_3/P2 | LD_3/P3 | LD_4/P1 | LD_4/P2 | LD_4/P3 | LD_5/P1 | LD_5/P2 | LD_5/P3 | LD_6/P1 | LD_6/P2 | LD_6/P3 | LD_7/P1 | LD_7/P2 | LD_7/P3 | LD_8/P1 | LD_8/P2 | LD_8/P3 | LD_9/P1 | LD_9/P2 | LD_9/P3 | LD_10/P1 | LD_10/P2 | LD_10/P3 | LD_11/P1 | LD_11/P2 | LD_11/P3 | LD_12/P1 | LD_12/P2 | LD_12/P3 | LD_13/P1 | LD_13/P2 | LD_13/P3 | LD_14/P1 | LD_14/P2 | LD_14/P3 | LD_15/P1 | LD_15/P2 | LD_15/P3 | LD_16/P1 | LD_16/P2 | LD_16/P3 | LD_17/P1 | LD_17/P2 | LD_17/P3 | LD_18/P1 | LD_18/P2 | LD_18/P3 | LD_19/P1 | LD_19/P2 | LD_19/P3 | LD_20/P1 | LD_20/P2 | LD_20/P3 | LD_21/P1 | LD_21/P2 | LD_21/P3 | LD_22/P1 | LD_22/P2 | LD_22/P3 | LD_23/P1 | LD_23/P2 | LD_23/P3 | LD_24/P1 | LD_24/P2 | LD_24/P3 | LD_25/P1 | LD_25/P2 | LD_25/P3 | LD_26/P1 | LD_26/P2 | LD_26/P3 | LD_27/P1 | LD_27/P2 | LD_27/P3 | LD_28/P1 | LD_28/P2 | LD_28/P3 | LD_29/P1 | LD_29/P2 | LD_29/P3 | LD_30/P1 | LD_30/P2 | LD_30/P3 | LD_31/P1 | LD_31/P2 | LD_31/P3 | LD_32/P1 | LD_32/P2 | LD_32/P3 | LD_33/P1 | LD_33/P2 | LD_33/P3 | LD_1/Q1 | LD_1/Q2 | LD_1/Q3 | LD_2/Q1 | LD_2/Q2 | LD_2/Q3 | LD_3/Q1 | LD_3/Q2 | LD_3/Q3 | LD_4/Q1 | LD_4/Q2 | LD_4/Q3 | LD_5/Q1 | LD_5/Q2 | LD_5/Q3 | LD_6/Q1 | LD_6/Q2 | LD_6/Q3 | LD_7/Q1 | LD_7/Q2 | LD_7/Q3 | LD_8/Q1 | LD_8/Q2 | LD_8/Q3 | LD_9/Q1 | LD_9/Q2 | LD_9/Q3 | LD_10/Q1 | LD_10/Q2 | LD_10/Q3 | LD_11/Q1 | LD_11/Q2 | LD_11/Q3 | LD_12/Q1 | LD_12/Q2 | LD_12/Q3 | LD_13/Q1 | LD_13/Q2 | LD_13/Q3 | LD_14/Q1 | LD_14/Q2 | LD_14/Q3 | LD_15/Q1 | LD_15/Q2 | LD_15/Q3 | LD_16/Q1 | LD_16/Q2 | LD_16/Q3 | LD_17/Q1 | LD_17/Q2 | LD_17/Q3 | LD_18/Q1 | LD_18/Q2 | LD_18/Q3 | LD_19/Q1 | LD_19/Q2 | LD_19/Q3 | LD_20/Q1 | LD_20/Q2 | LD_20/Q3 | LD_21/Q1 | LD_21/Q2 | LD_21/Q3 | LD_22/Q1 | LD_22/Q2 | LD_22/Q3 | LD_23/Q1 | LD_23/Q2 | LD_23/Q3 | LD_24/Q1 | LD_24/Q2 | LD_24/Q3 | LD_25/Q1 | LD_25/Q2 | LD_25/Q3 | LD_26/Q1 | LD_26/Q2 | LD_26/Q3 | LD_27/Q1 | LD_27/Q2 | LD_27/Q3 | LD_28/Q1 | LD_28/Q2 | LD_28/Q3 | LD_29/Q1 | LD_29/Q2 | LD_29/Q3 | LD_30/Q1 | LD_30/Q2 | LD_30/Q3 | LD_31/Q1 | LD_31/Q2 | LD_31/Q3 | LD_32/Q1 | LD_32/Q2 | LD_32/Q3 | LD_33/Q1 | LD_33/Q2 | LD_33/Q3

## Bus
Bus | Base Voltage | Voltage (V) | Angle (deg) | Type
1_a | 7199.6 | 7199.6 | 0 | SLACK
1_b | 7199.6 | 7199.6 | -120 | SLACK
1_c | 7199.6 | 7199.6 | 120 | SLACK
2_a | 7199.6 | 7199.6 | 0 | PQ
2_b | 7199.6 | 7199.6 | -120 | PQ
2_c | 7199.6 | 7199.6 | 120 | PQ
3_a | 7199.6 | 7199.6 | 0 | PQ
3_b | 7199.6 | 7199.6 | -120 | PQ
3_c | 7199.6 | 7199.6 | 120 | PQ
4_a | 7199.6 | 7199.6 | 0 | PQ
4_b | 7199.6 | 7199.6 | -120 | PQ
4_c | 7199.6 | 7199.6 | 120 | PQ
5_a | 7199.6 | 7199.6 | 0 | PQ
5_b | 7199.6 | 7199.6 | -120 | PQ
5_c | 7199.6 | 7199.6 | 120 | PQ
6_a | 7199.6 | 7199.6 | 0 | PQ
6_b | 7199.6 | 7199.6 | -120 | PQ
6_c | 7199.6 | 7199.6 | 120 | PQ
7_a | 7199.6 | 7199.6 | 0 | PQ
7_b | 7199.6 | 7199.6 | -120 | PQ
7_c | 7199.6 | 7199.6 | 120 | PQ
8_a | 7199.6 | 7199.6 | 0 | PQ
8_b | 7199.6 | 7199.6 | -120 | PQ
8_c | 7199.6 | 7199.6 | 120 | PQ
9_a | 7199.6 | 7199.6 | 0 | PQ
9_b | 7199.6 | 7199.6 | -120 | PQ
9_c | 7199.6 | 7199.6 | 120 | PQ
10_a | 7199.6 | 7199.6 | 0 | PQ
10_b | 7199.6 | 7199.6 | -120 | PQ
10_c | 7199.6 | 7199.6 | 120 | PQ
11_a | 7199.6 | 7199.6 | 0 | PQ
11_b | 7199.6 | 7199.6 | -120 | PQ
11_c | 7199.6 | 7199.6 | 120 | PQ
12_a | 7199.6 | 7199.6 | 0 | PQ
12_b | 7199.6 | 7199.6 | -120 | PQ
12_c | 7199.6 | 7199.6 | 120 | PQ
13_a | 7199.6 | 7199.6 | 0 | PQ
13_b | 7199.6 | 7199.6 | -120 | PQ
13_c | 7199.6 | 7199.6 | 120 | PQ
14_a | 7199.6 | 7199.6 | 0 | PQ
14_b | 7199.6 | 7199.6 | -120 | PQ
14_c | 7199.6 | 7199.6 | 120 | PQ
15_a | 7199.6 | 7199.6 | 0 | PQ
15_b | 7199.6 | 7199.6 | -120 | PQ
15_c | 7199.6 | 7199.6 | 120 | PQ
16_a | 7199.6 | 7199.6 | 0 | PQ
16_b | 7199.6 | 7199.6 | -120 | PQ
16_c | 7199.6 | 7199.6 | 120 | PQ
17_a | 7199.6 | 7199.6 | 0 | PQ
17_b | 7199.6 | 7199.6 | -120 | PQ
17_c | 7199.6 | 7199.6 | 120 | PQ
18_a | 7199.6 | 7199.6 | 0 | PQ
18_b | 7199.6 | 7199.6 | -120 | PQ
18_c | 7199.6 | 7199.6 | 120 | PQ
19_a | 7199.6 | 7199.6 | 0 | PQ
19_b | 7199.6 | 7199.6 | -120 | PQ
19_c | 7199.6 | 7199.6 | 120 | PQ
20_a | 7199.6 | 7199.6 | 0 | PQ
20_b | 7199.6 | 7199.6 | -120 | PQ
20_c | 7199.6 | 7199.6 | 120 | PQ
21_a | 7199.6 | 7199.6 | 0 | PQ
21_b | 7199.6 | 7199.6 | -120 | PQ
21_c | 7199.6 | 7199.6 | 120 | PQ
22_a | 7199.6 | 7199.6 | 0 | PQ
22_b | 7199.6 | 7199.6 | -120 | PQ
22_c | 7199.6 | 7199.6 | 120 | PQ
23_a | 7199.6 | 7199.6 | 0 | PQ
23_b | 7199.6 | 7199.6 | -120 | PQ
23_c | 7199.6 | 7199.6 | 120 | PQ
24_a | 7199.6 | 7199.6 | 0 | PQ
24_b | 7199.6 | 7199.6 | -120 | PQ
24_c | 7199.6 | 7199.6 | 120 | PQ
25_a | 7199.6 | 7199.6 | 0 | PQ
25_b | 7199.6 | 7199.6 | -120 | PQ
25_c | 7199.6 | 7199.6 | 120 | PQ
26_a | 7199.6 | 7199.6 | 0 | PQ
26_b | 7199.6 | 7199.6 | -120 | PQ
26_c | 7199.6 | 7199.6 | 120 | PQ
27_a | 7199.6 | 7199.6 | 0 | PQ
27_b | 7199.6 | 7199.6 | -120 | PQ
27_c | 7199.6 | 7199.6 | 120 | PQ
28_a | 7199.6 | 7199.6 | 0 | PQ
28_b | 7199.6 | 7199.6 | -120 | PQ
28_c | 7199.6 | 7199.6 | 120 | PQ
29_a | 7199.6 | 7199.6 | 0 | PQ
29_b | 7199.6 | 7199.6 | -120 | PQ
29_c | 7199.6 | 7199.6 | 120 | PQ
30_a | 7199.6 | 7199.6 | 0 | PQ
30_b | 7199.6 | 7199.6 | -120 | PQ
30_c | 7199.6 | 7199.6 | 120 | PQ
31_a | 7199.6 | 7199.6 | 0 | PQ
31_b | 7199.6 | 7199.6 | -120 | PQ
31_c | 7199.6 | 7199.6 | 120 | PQ
32_a | 7199.6 | 7199.6 | 0 | PQ
32_b | 7199.6 | 7199.6 | -120 | PQ
32_c | 7199.6 | 7199.6 | 120 | PQ
33_a | 7199.6 | 7199.6 | 0 | PQ
33_b | 7199.6 | 7199.6 | -120 | PQ
33_c | 7199.6 | 7199.6 | 120 | PQ

## Vsource 3-phase
bus A | bus B | bus C | ID | kV (ph-ph RMS) | Angle_a (Degree) | MVA_sc1 | MVA_sc3 | r_pos | x_pos | r_zero | x_zero
1_a | 1_b | 1_c | SOURCE_A | 12.47 | 0 | 200 | 200 | 0.001 | 0.003
Note on G8: Author: Under Development

## Transformer 3-phase
| winding 0 | [6 empty] | winding 1 | [15 empty] | winding 0 | [6 empty] | winding 1 | [15 empty] | winding 0 | [6 empty] | winding 1
ID | bus a | bus b | bus c | kV (ph-ph RMS) | kVA_base | R_w0 (pu) | conn | bus_a | bus_b | bus_c | kV (ph-ph RMS) | kVA_base | R_w1 (pu) | conn | X (pu) | Tap A | Tap B | Tap C | Lowest Tap | Highest Tap | Min Range (%) | Max Range (%) | ID | bus a | bus b | bus c | kV (ph-ph RMS) | kVA_base | R_w0 (pu) | conn | bus_a | bus_b | bus_c | kV (ph-ph RMS) | kVA_base | R_w1 (pu) | conn | X (pu) | Tap A | Tap B | Tap C | Lowest Tap | Highest Tap | Min Range (%) | Max Range (%) | ID | bus a | bus b | bus c | kV (ph-ph RMS) | kVA_base | R_w0 (pu) | conn | bus_a
Note on G8: Author: Under Development

## Multiphase Line
From1 | From2 | From3 | To1 | To2 | To3 | ID | Mode | Length (length_unit) | r0 (ohm/length_unit) | x0 (ohm/length_unit) | r1 (ohm/length_unit) | x1 (ohm/length_unit) | b0 (uS/length_unit) | b1 (uS/length_unit) | r11 (ohm/length_unit) | x11 (ohm/length_unit) | r21 (ohm/length_unit) | x21 (ohm/length_unit) | r22 (ohm/length_unit) | x22 (ohm/length_unit) | r31 (ohm/length_unit) | x31 (ohm/length_unit) | r32 (ohm/length_unit) | x32 (ohm/length_unit) | r33 (ohm/length_unit) | x33 (ohm/length_unit) | b11 (uS/length_unit) | b21 (uS/length_unit) | b22 (uS/length_unit) | b31 (uS/length_unit) | b32 (uS/length_unit) | b33 (uS/length_unit)
1_a | 1_b | 1_c | 2_a | 2_b | 2_c | LN_1_2 | full | 1 | [6 empty] | 0.0922 | 0.047 | 0 | 0 | 0.0922 | 0.047 | 0 | 0 | 0 | 0 | 0.0922 | 0.047 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
2_a | 2_b | 2_c | 3_a | 3_b | 3_c | LN_2_3 | full | 1 | [6 empty] | 0.493 | 0.2511 | 0 | 0 | 0.493 | 0.2511 | 0 | 0 | 0 | 0 | 0.493 | 0.2511 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
3_a | 3_b | 3_c | 4_a | 4_b | 4_c | LN_3_4 | full | 1 | [6 empty] | 0.366 | 0.1864 | 0 | 0 | 0.366 | 0.1864 | 0 | 0 | 0 | 0 | 0.366 | 0.1864 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
4_a | 4_b | 4_c | 5_a | 5_b | 5_c | LN_4_5 | full | 1 | [6 empty] | 0.3811 | 0.1941 | 0 | 0 | 0.3811 | 0.1941 | 0 | 0 | 0 | 0 | 0.3811 | 0.1941 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
5_a | 5_b | 5_c | 6_a | 6_b | 6_c | LN_5_6 | full | 1 | [6 empty] | 0.819 | 0.707 | 0 | 0 | 0.819 | 0.707 | 0 | 0 | 0 | 0 | 0.819 | 0.707 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
6_a | 6_b | 6_c | 7_a | 7_b | 7_c | LN_6_7 | full | 1 | [6 empty] | 0.1872 | 0.6188 | 0 | 0 | 0.1872 | 0.6188 | 0 | 0 | 0 | 0 | 0.1872 | 0.6188 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
7_a | 7_b | 7_c | 8_a | 8_b | 8_c | LN_7_8 | full | 1 | [6 empty] | 0.7114 | 0.2351 | 0 | 0 | 0.7114 | 0.2351 | 0 | 0 | 0 | 0 | 0.7114 | 0.2351 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
8_a | 8_b | 8_c | 9_a | 9_b | 9_c | LN_8_9 | full | 1 | [6 empty] | 1.03 | 0.74 | 0 | 0 | 1.03 | 0.74 | 0 | 0 | 0 | 0 | 1.03 | 0.74 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
9_a | 9_b | 9_c | 10_a | 10_b | 10_c | LN_9_10 | full | 1 | [6 empty] | 1.044 | 0.74 | 0 | 0 | 1.044 | 0.74 | 0 | 0 | 0 | 0 | 1.044 | 0.74 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
10_a | 10_b | 10_c | 11_a | 11_b | 11_c | LN_10_11 | full | 1 | [6 empty] | 0.1966 | 0.065 | 0 | 0 | 0.1966 | 0.065 | 0 | 0 | 0 | 0 | 0.1966 | 0.065 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
11_a | 11_b | 11_c | 12_a | 12_b | 12_c | LN_11_12 | full | 1 | [6 empty] | 0.3744 | 0.1238 | 0 | 0 | 0.3744 | 0.1238 | 0 | 0 | 0 | 0 | 0.3744 | 0.1238 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
12_a | 12_b | 12_c | 13_a | 13_b | 13_c | LN_12_13 | full | 1 | [6 empty] | 1.468 | 1.155 | 0 | 0 | 1.468 | 1.155 | 0 | 0 | 0 | 0 | 1.468 | 1.155 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
13_a | 13_b | 13_c | 14_a | 14_b | 14_c | LN_13_14 | full | 1 | [6 empty] | 0.5416 | 0.7129 | 0 | 0 | 0.5416 | 0.7129 | 0 | 0 | 0 | 0 | 0.5416 | 0.7129 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
14_a | 14_b | 14_c | 15_a | 15_b | 15_c | LN_14_15 | full | 1 | [6 empty] | 0.591 | 0.526 | 0 | 0 | 0.591 | 0.526 | 0 | 0 | 0 | 0 | 0.591 | 0.526 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
15_a | 15_b | 15_c | 16_a | 16_b | 16_c | LN_15_16 | full | 1 | [6 empty] | 0.7463 | 0.545 | 0 | 0 | 0.7463 | 0.545 | 0 | 0 | 0 | 0 | 0.7463 | 0.545 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
16_a | 16_b | 16_c | 17_a | 17_b | 17_c | LN_16_17 | full | 1 | [6 empty] | 1.289 | 1.721 | 0 | 0 | 1.289 | 1.721 | 0 | 0 | 0 | 0 | 1.289 | 1.721 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
17_a | 17_b | 17_c | 18_a | 18_b | 18_c | LN_17_18 | full | 1 | [6 empty] | 0.732 | 0.574 | 0 | 0 | 0.732 | 0.574 | 0 | 0 | 0 | 0 | 0.732 | 0.574 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
2_a | 2_b | 2_c | 19_a | 19_b | 19_c | LN_2_19 | full | 1 | [6 empty] | 0.164 | 0.1565 | 0 | 0 | 0.164 | 0.1565 | 0 | 0 | 0 | 0 | 0.164 | 0.1565 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
19_a | 19_b | 19_c | 20_a | 20_b | 20_c | LN_19_20 | full | 1 | [6 empty] | 1.5042 | 1.3554 | 0 | 0 | 1.5042 | 1.3554 | 0 | 0 | 0 | 0 | 1.5042 | 1.3554 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
20_a | 20_b | 20_c | 21_a | 21_b | 21_c | LN_20_21 | full | 1 | [6 empty] | 0.4095 | 0.4784 | 0 | 0 | 0.4095 | 0.4784 | 0 | 0 | 0 | 0 | 0.4095 | 0.4784 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
21_a | 21_b | 21_c | 22_a | 22_b | 22_c | LN_21_22 | full | 1 | [6 empty] | 0.7089 | 0.9373 | 0 | 0 | 0.7089 | 0.9373 | 0 | 0 | 0 | 0 | 0.7089 | 0.9373 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
3_a | 3_b | 3_c | 23_a | 23_b | 23_c | LN_3_23 | full | 1 | [6 empty] | 0.4512 | 0.3083 | 0 | 0 | 0.4512 | 0.3083 | 0 | 0 | 0 | 0 | 0.4512 | 0.3083 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
23_a | 23_b | 23_c | 24_a | 24_b | 24_c | LN_23_24 | full | 1 | [6 empty] | 0.898 | 0.7091 | 0 | 0 | 0.898 | 0.7091 | 0 | 0 | 0 | 0 | 0.898 | 0.7091 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
24_a | 24_b | 24_c | 25_a | 25_b | 25_c | LN_24_25 | full | 1 | [6 empty] | 0.896 | 0.7011 | 0 | 0 | 0.896 | 0.7011 | 0 | 0 | 0 | 0 | 0.896 | 0.7011 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
6_a | 6_b | 6_c | 26_a | 26_b | 26_c | LN_6_26 | full | 1 | [6 empty] | 0.203 | 0.1034 | 0 | 0 | 0.203 | 0.1034 | 0 | 0 | 0 | 0 | 0.203 | 0.1034 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
26_a | 26_b | 26_c | 27_a | 27_b | 27_c | LN_26_27 | full | 1 | [6 empty] | 0.2842 | 0.1447 | 0 | 0 | 0.2842 | 0.1447 | 0 | 0 | 0 | 0 | 0.2842 | 0.1447 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
27_a | 27_b | 27_c | 28_a | 28_b | 28_c | LN_27_28 | full | 1 | [6 empty] | 1.059 | 0.9337 | 0 | 0 | 1.059 | 0.9337 | 0 | 0 | 0 | 0 | 1.059 | 0.9337 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
28_a | 28_b | 28_c | 29_a | 29_b | 29_c | LN_28_29 | full | 1 | [6 empty] | 0.8042 | 0.7006 | 0 | 0 | 0.8042 | 0.7006 | 0 | 0 | 0 | 0 | 0.8042 | 0.7006 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
29_a | 29_b | 29_c | 30_a | 30_b | 30_c | LN_29_30 | full | 1 | [6 empty] | 0.5075 | 0.2585 | 0 | 0 | 0.5075 | 0.2585 | 0 | 0 | 0 | 0 | 0.5075 | 0.2585 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
30_a | 30_b | 30_c | 31_a | 31_b | 31_c | LN_30_31 | full | 1 | [6 empty] | 0.9744 | 0.963 | 0 | 0 | 0.9744 | 0.963 | 0 | 0 | 0 | 0 | 0.9744 | 0.963 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
31_a | 31_b | 31_c | 32_a | 32_b | 32_c | LN_31_32 | full | 1 | [6 empty] | 0.3105 | 0.3619 | 0 | 0 | 0.3105 | 0.3619 | 0 | 0 | 0 | 0 | 0.3105 | 0.3619 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
32_a | 32_b | 32_c | 33_a | 33_b | 33_c | LN_32_33 | full | 1 | [6 empty] | 0.341 | 0.5302 | 0 | 0 | 0.341 | 0.5302 | 0 | 0 | 0 | 0 | 0.341 | 0.5302 | 6.2998 | 0 | 5.9597 | 0 | 0 | 5.6386
Note on I1: Author: This value can be in any unit

## Multiphase Load
Bus1 | Bus2 | Bus3 | ID | Type | P1(kW) | Q1(kVAr) | P2 (kW) | Q2 (kVAr) | P3(kW) | Q3 (kVAr) | V (kV) | Bandwidth (pu) | Conn. type | K_z | K_i | K_p | Status | Use initial voltage?
2_a | 2_b | 2_c | LD_2 | ZIP | 100 | 60 | 100 | 60 | 100 | 60 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
3_a | 3_b | 3_c | LD_3 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
4_a | 4_b | 4_c | LD_4 | ZIP | 120 | 80 | 120 | 80 | 120 | 80 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
5_a | 5_b | 5_c | LD_5 | ZIP | 60 | 30 | 60 | 30 | 60 | 30 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
6_a | 6_b | 6_c | LD_6 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
7_a | 7_b | 7_c | LD_7 | ZIP | 200 | 100 | 200 | 100 | 200 | 100 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
8_a | 8_b | 8_c | LD_8 | ZIP | 200 | 100 | 200 | 100 | 200 | 100 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
9_a | 9_b | 9_c | LD_9 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
10_a | 10_b | 10_c | LD_10 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
11_a | 11_b | 11_c | LD_11 | ZIP | 45 | 30 | 45 | 30 | 45 | 30 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
12_a | 12_b | 12_c | LD_12 | ZIP | 60 | 35 | 60 | 35 | 60 | 35 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
13_a | 13_b | 13_c | LD_13 | ZIP | 60 | 35 | 60 | 35 | 60 | 35 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
14_a | 14_b | 14_c | LD_14 | ZIP | 120 | 80 | 120 | 80 | 120 | 80 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
15_a | 15_b | 15_c | LD_15 | ZIP | 60 | 10 | 60 | 10 | 60 | 10 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
16_a | 16_b | 16_c | LD_16 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
17_a | 17_b | 17_c | LD_17 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
18_a | 18_b | 18_c | LD_18 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
19_a | 19_b | 19_c | LD_19 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
20_a | 20_b | 20_c | LD_20 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
21_a | 21_b | 21_c | LD_21 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
22_a | 22_b | 22_c | LD_22 | ZIP | 90 | 40 | 90 | 40 | 90 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
23_a | 23_b | 23_c | LD_23 | ZIP | 90 | 50 | 90 | 50 | 90 | 50 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
24_a | 24_b | 24_c | LD_24 | ZIP | 420 | 200 | 420 | 200 | 420 | 200 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
25_a | 25_b | 25_c | LD_25 | ZIP | 420 | 200 | 420 | 200 | 420 | 200 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
26_a | 26_b | 26_c | LD_26 | ZIP | 60 | 25 | 60 | 25 | 60 | 25 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
27_a | 27_b | 27_c | LD_27 | ZIP | 60 | 25 | 60 | 25 | 60 | 25 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
28_a | 28_b | 28_c | LD_28 | ZIP | 60 | 20 | 60 | 20 | 60 | 20 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
29_a | 29_b | 29_c | LD_29 | ZIP | 120 | 70 | 120 | 70 | 120 | 70 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
30_a | 30_b | 30_c | LD_30 | ZIP | 200 | 600 | 200 | 600 | 200 | 600 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
31_a | 31_b | 31_c | LD_31 | ZIP | 150 | 70 | 150 | 70 | 150 | 70 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
32_a | 32_b | 32_c | LD_32 | ZIP | 210 | 100 | 210 | 100 | 210 | 100 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
33_a | 33_b | 33_c | LD_33 | ZIP | 60 | 40 | 60 | 40 | 60 | 40 | 12.47 | 0.2 | wye | 1 | 0 | 0 | 1 | 0
Note on L1: Author: phase-to-phase RMS voltage
Note on N1: Author: wye: for Yg delta: for D
Note on R1: Author: 0: out-of-service 1: in-service
Note on S1: Author: 0: Power is specified at the given nominal voltage 1: Power is specified for the voltage value in page Bus

## Multiphase Shunt
Bus1 | Bus2 | Bus3 | ID | P1 (kW) | Q1 (kVAr) | P2 (kW) | Q2 (kVAr) | P3 (kW) | Q3 (kVAr) | kV (ph-gr RMS) | Status1 | Status2 | Status3 | Bus1 | Bus2 | Bus3 | ID | P1 (kW) | Q1 (kVAr)

## Switch
From Bus | To Bus | Switch Name | Status