## inputs
Register | Description | T3.3 | T3.3.calibrate | T3.4 | T7.1 | T7.2 | T8.1 | T12.1 | T12.2 | T12.3 | T12.4
1 | Simulation flag | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | sw_uPMU123 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 4 | 4
3 | sw_uPMU4 | 0 | 0 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0
4 | sw_Loadrack_A_to_671_A | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0
5 | sw_Loadrack_B_to_671_B | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0
6 | sw_Loadrack_C_to_671_C | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0
7 | sw_Inverter_A_to_671_A | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
8 | sw_Inverter_B_to_671_B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | sw_Inverter_C_to_671_C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | sw_Inverter_A_to_675_A | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
11 | sw_Inverter_B_to_675_B | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
12 | sw_Inverter_C_to_675_C | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
13 | sw_Inverter_A_to_652_A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
14 | sw_Inverter_A_to_692_A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
15 | scale_flexgrid PV | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500
16 | scale_loadrack | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700
17 | Loadrack_P_A | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED
18 | Loadrack_Q_A | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED
19 | Loadrack_P_B | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED
20 | Loadrack_Q_B | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED
21 | Loadrack_P_C | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED
22 | Loadrack_Q_C | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED | RESERVED

## uPMU sw - more info
| sw value | function
uPMU123 | 0 | pass through zeros to uPMU
| 1 | connects to 675a/b/c
| 2 | connects to 671a
| 3 | connects to 671a, 652a
| 4 | connects to 671a, 652a, 692a
uPMU4 | 0 | pass through zeros to uPMU
^ if set to zero, could set to other values for other meausrements if needed | 1 | connects to 675a/b/c
| 2 | connects to 632a/b/c

## outputs
Register | Description | Note
1 | Simulation_Time | Time of simulation in seconds
2 | GPS_Time | Time of GPS clock, in epoch (currently NOT implemented)
3 | Load_Time | Time of dynamic loads, in seconds (currently NOT implemented)
sim flag: 0 by default, when go to nonzero triggers rcording of file for monitoring, then leave at 1. When flip back to 0, should create a new file for the next test. Named grid_results 1,2,3...