## inputs
Register | Description | T9.1 | T9.2 | T9.3
1 | Simulation flag | 0 | 0 | 0
2 | sw_uPMU123 | 1 | 2 | 3
3 | sw_uPMU4 | 0 | 0 | 0
4 | sw_Inverter_A_to_300062503_A | 1 | 0 | 0
5 | sw_Inverter_A_to_300063911_A | 0 | 1 | 1
6 | sw_Inverter_B_to_300063911_B | 0 | 0 | 1
7 | sw_Inverter_C_to_300063911_C | 0 | 0 | 1
8 | scale_flexgrid PV | 3000 | 3000 | 3000
9 | scale_loadrack | 700 | 700 | 700
17 | Loadrack_P_A | RESERVED | RESERVED | RESERVED
18 | Loadrack_Q_A | RESERVED | RESERVED | RESERVED
19 | Loadrack_P_B | RESERVED | RESERVED | RESERVED
20 | Loadrack_Q_B | RESERVED | RESERVED | RESERVED
21 | Loadrack_P_C | RESERVED | RESERVED | RESERVED
22 | Loadrack_Q_C | RESERVED | RESERVED | RESERVED
Note on A11: Imported Author: are these registers fixed or can they be set based on this sheet? -Jasper Pakshong

## uPMU sw - more info
| sw value | function
uPMU123 | 0 | pass through zeros to uPMU
| 1 | connects to 300062503a
| 2 | connects to 300063911a
| 3 | connects to 300063911a/b/c
uPMU4 | 0 | pass through zeros to uPMU
^ if set to zero, could set to other values for other meausrements if needed

## outputs
Register | Description | Note
1 | Simulation_Time | Time of simulation in seconds
2 | GPS_Time | Time of GPS clock, in epoch (currently NOT implemented)
3 | Load_Time | Time of dynamic loads, in seconds (currently NOT implemented)
sim flag: 0 by default, when go to nonzero triggers rcording of file for monitoring, then leave at 1. When flip back to 0, should create a new file for the next test. Named grid_results 1,2,3...